Wearable Sleep Staging Research Prototype

Evidence-focused prediction report

Generated (UTC): 2026-07-18 14:07 UTC

Model af0f2cb49980: HGB context model; 30-s epochs; 9 base features; +/-2 epoch offline context

# Predicted stage summary

| Predicted stage | Epochs | Duration (min) | Share of analyzed epochs (%) |
| --- | --- | --- | --- |
| Wake | 130 | 65.0 | 13.6 |
| NREM | 470 | 235.0 | 49.1 |
| REM | 357 | 178.5 | 37.3 |

# Complete predicted hypnogram

# Model-derived exploratory metrics

Input epochs: 961

Analyzed epochs: 957

Predicted total sleep time (min): 413.5

Predicted sleep proportion within analyzed window (%): 86.4

Predicted wake between first and last sleep epochs (WASO-like, min): 51.5

Derived solely from model-predicted Wake/NREM/REM labels; not independently validated clinical sleep measures.

# Research limitations

Three-class Wake/NREM/REM output; this is not five-stage AASM sleep staging.

Offline inference uses two preceding and two following epochs.

No online training, tuning, calibration, or clinical diagnostic function is performed.

Cross-device generalization is limited; results should not guide clinical decisions.

Research use only. Not for diagnosis or clinical decision-making.